## DVT Test Results
Rack# | Test date | End date | Blade name | Storm_Peak card # | IP | Power cycle test/DRAM test | PCI pass | PCI failures | Result | Observation | Image | Test Log Path | Root cause for failing
2 | 2018-02-16 |  | WCSS10R2S37 | S014 | 10.232.184.19 | PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S014\Powercyc\start_02_16_2018 | 1.Iteration file might be corrupted . FPGA drivers fo
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S35 | S013 | 10.232.184.25 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S013\Powercyc\start_02_16_2018
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S33 | S002 | 10.232.184.11 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S002\Powercyc\start_02_16_2017
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S31 | S021 | 10.232.184.23 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S021\Powercyc\start_2_16_2018
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S29 | S020 | 10.232.184.13 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S020\Powercyc\start_2_16_2018
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S27 | S019 | 10.232.184.12 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S019\Powercyc\start_02_16_2018
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S25 | S024 | 10.232.184.14 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S024\Powercyc\start_02_16_2018
2 | 2018-02-16 |  | WCSS10R2S14 | S023 | 10.232.184.15 | PC | 34 | 2 | Fail at 32 iteration !!BAD | Test stop at iteration 32 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S023\Powercyc\start_02_16_2018
2 | 2018-02-16 | 2018-02-20 | WCSS10R2S12 | S001 | 10.232.184.17 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S001\Powercyc\start_02_16_2018
2 | 2018-02-16 |  | WCSS10R2S10 | S022 | 10.232.184.24 | PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S022\Powercyc\start_02_16_2018
2 | 2018-02-21 |  | WCSS10R2S08 | S033 | 10.232.184.20 | PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S033\Powercyc\start_2_21_2018
3 | 2018-02-16 |  | WCSS10R3S37 | S011 | 10.232.184.86 | Auto run PC |  |  | System rebooting |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | No log file
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S35 | S004 | 10.232.184.77 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S004\Powercyc\start_2_16_2018
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S33 | S010 | 10.232.184.69 | DDR4 test | 0 | 0 | Pass 19200 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S31 | S012 | 10.232.184.74 | DDR4 test | 0 | 0 | Pass 19200 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S29 | S003 | 10.232.184.71 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S003\Powercyc\start_2_16_2018
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S27 | S016 | 10.232.184.72 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S016\Powercyc\start_2_16_2017
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S25 | S015 | 10.232.184.73 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S015\Powercyc\start_2_16_2018
3 | 2018-02-16 | 2018-02-20 | WCSS10R3S14 | S008 | 10.232.184.79 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S008\Powercyc\start_2_16_2018
3 | 2018-02-16 |  | WCSS10R3S12 | S007 | 10.232.184.80 | Auto run PC | 0 | 0 | System rebooting | Its continously rebooting | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | No log file
3 | 2018-02-16 |  | WCSS10R3S10 | S006 | 10.232.184.81 | Auto run PC | 21 | 1 | Fail 22 iteration !!BAD | Test stop at iteration 22 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S006\Powercyc\start_2_16_2018
3 | 2018-02-16 |  | WCSS10R3S08 | S005 | 10.232.184.82 | Auto run PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S005\Powercyc\start_2_16_2018
After changes made
2 | 2018-02-22 | 2018-02-23 | WCSS10R2S37 | S014 | 10.232.184.19 | PC | 0 | 721 | FAIL 721 iterations | Old S10, new script, the FPGA is not seen in the device manager | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S014\Powercyc\start_02_22_2018
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S35 | S009 | 10.232.184.25 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S009\Powercycr\start_2_20_2018
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S33 | S029 | 10.232.184.11 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S029\Powercyc\start_02_20_2017
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S31 | S027 | 10.232.184.23 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S027\Powercyc\start_02_20_2018
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S29 | S025 | 10.232.184.13 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S025\Powercyc\start_02_20_2018
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S27 | S030 | 10.232.184.12 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S030\Powercyc\start_02_20_2018
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S25 | S026 | 10.232.184.14 | PC | 2661 | 219 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S026\Powercyc\start_2_20_2018
2 | 2018-02-20 |  | WCSS10R2S14 | S023 | 10.232.184.15 | PC | 0 | 13 | System shutdown | Old S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S015\Powercyc\start_2_20_2018
2 | 2018-02-20 | 2018-02-24 | WCSS10R2S12 | S028 | 10.232.184.17 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S028\Powercyc\start_02_20_2018
2 | 2018-02-20 |  | WCSS10R2S10 | S022 | 10.232.184.24 | PC | 0 | 13 |  | Old S10, new script, PASS only 8 iterations after 5 days. FPGA is not seeen in the device manager, power cycle blade. Stopped to rerun old script. | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S022\Powercyc\start_02_20_2018
2 | 2018-02-20 |  | WCSS10R2S08 | S033 | 10.232.184.20 | PC | 0 | 1 | Old script stuck at 5 iterations. | Ran New S10, old script, its stucked at 5 iterations | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S033\Powercyc\start_2_20_2018
3 | 2018-02-20 | 2018-02-24 | WCSS10R3S37 | S011 | 10.232.184.86 | PC | 2880 | 0 | Pass 2880 iterations | Old S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S011\Powercyc\start_02_20_2018
3 | 2018-02-20 | 2018-02-24 | WCSS10R3S35 | S032 | 10.232.184.77 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S032\Powercyc\start_2_20_2018
3 | 2018-02-20 | 2018-02-24 | WCSS10R3S33 | S010 | 10.232.184.69 | PC | 2880 | 0 | Pass 2880 iterations | Old S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S010\Powercyc\start_2_20_2018
3 | 2018-02-20 | 2018-02-24 | WCSS10R3S31 | S012 | 10.232.184.74 | PC | 2880 | 0 | Pass 2880 iterations | Old S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S012\Powercyc\start_2_20_2018
3 | 2018-02-20 | 2018-02-24 | WCSS10R3S29 | S034 | 10.232.184.71 | PC | 2880 | 0 | Pass 2880 iterations | Ran with new S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S034\Powercyc\start_2_20_2018
3 | 2018-02-25 |  | WCSS10R3S27 | S035 | 10.232.184.72 | Combo tests |  |  | Stop, Dai to investigate |  | dse_test (2/16/2018)
3 | 2018-02-21 |  | WCSS10R3S25 | S031 | 10.232.184.73 | PC | 2880 | 0 | Pass 2880 iterations | New S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S031\Powercyc\start_2_21_2016
3 | 2018-02-25 |  | WCSS10R3S14 | S008 | 10.232.184.79 | Combo tests |  |  | Stop, Dai to investigate |  | dse_test (2/16/2018)
3 | 2018-02-22 |  | WCSS10R3S12 | S007 | 10.232.184.80 | PC | 0 | 0 | System shutdown | With Old S10, new script System has shutdown | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | No log file found
3 | 2018-02-21 |  | WCSS10R3S10 | S022 | 10.232.184.81 | PC | 51 | 10 | Fail, keeps running. Force stop at 62 iterations | Ran withOld S10, new script, it keep running force to stopped | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S022\Powercyc\start_02_21_2018
3 | 2018-02-21 |  | WCSS10R3S08 | S023 | 10.232.184.82 | PC | 0 | 1 | Fail, keeps running. Force stop station | Ran withOld S10, new script, it keep running force to stopped | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S023\Powercyc\start_2_21_2018
Re-running with Old script
2 | 2018-02-26 |  | WCSS10R2S37 | S014 | 10.232.184.19 | PC | 0 | 1 | Fail on 1st iteration. !! BAD width and Speed | Power cycle blade before test to bring-up FPGA device. Old S10/Old script iteration=Fail on 1st iteration. FPGA can be seen in device manager when test fail however after 20 minutes station rebooted and FPGA disappear from device manager. | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S014\Powercyc\start_02_26_2018
2 |  |  | WCSS10R2S10 | S022 | 10.232.184.24 | PC | 0 | 91 | Fail on 91 iteration. !! BAD width and Speed | New script stuck at 8 iterations. Power cycle blade before test to bring-up FPGA device. Rerun Old S10/Old script iteration=Fail on 1st iteration. FPGA can be seen in device manager when test fail however after 20 minutes station rebooted and FPGA disappear from device manager. | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S022\Powercyc\start_02_26_2018
2 | 2018-02-26 |  | WCSS10R2S08 | S033 | 10.232.184.20 | PC | 0 | 1 | Fail on 1st iteration. !! BAD width and Speed | Old script stuck at 5 iterations. Power cycle blade before test to bring-up FPGA device. Old S10/Old script iteration=Fail on 1st iteration. FPGA can be seen in device manager when test fail however after 20 minutes station rebooted and FPGA disappear from device manager. | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S033\Powercyc\start_2_26_2018
2 | 2018-02-20 |  | WCSS10R2S14 | S023 | 10.232.184.15 | PC | 34 | 2 | Stopped at 38 iterations | Old script stuck at 32 iterations and blade was shutdown. Power cycle blade before test to bring-up FPGA device. Rerun old script Fail on 38 iteration. OLD S10/Old script!! BAD width and Speed, somehow test continues and fail again on 96 iterations. | stormpeak_tester_powercycle_NoProg.ps1.rename2 (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S023\Powercyc\start_02_20_2018
3 | 2018-02-26 |  | WCSS10R3S10 | S006 | 10.232.184.81 | PC | 50 | 10 | Rerunning with old script | Stuck at 62 iterations with new script22, Stopped and rerun old script. | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S006\Powercyc\start_2_26_2018
3 | 2018-02-26 |  | WCSS10R3S08 | S005 | 10.232.184.82 | PC | 0 | 91 | Fail on 1st iteration. !! BAD width and Speed | Power cycle blade before test to bring-up FPGA device. Old S10/Old script iteration=Fail on 1st iteration. FPGA can be seen in device manager when test fail however after 20 minutes station rebooted and FPGA disappear from device manager. | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S005\Powercyc\start_2_26_2018
2 | 2018-02-26 |  | WCSS10R2S35 | S009 | 10.232.184.25 | PC | 705 | 1 | 705 iterations | New S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S009\Powercycr\start_2_26_2018
2 | 2018-02-26 |  | WCSS10R2S33 | S029 | 10.232.184.11 | PC | 716 | 0 | 716 iterations | New S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S029\Powercyc\start_02_26_2017
2 | 2018-02-26 |  | WCSS10R2S31 | S027 | 10.232.184.23 | PC | 774 | 0 | 710 iterations | New S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S027\Powercyc\start_02_26_2018
2 | 2018-02-26 |  | WCSS10R2S29 | S025 | 10.232.184.13 | PC | 705 | 1 | 717 iterations | New S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S025\Powercyc\start_02_26_2018
2 | 2018-02-26 |  | WCSS10R2S27 | S030 | 10.232.184.12 | PC | 714 | 0 | 714 iterations | New S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename (02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S030\Powercyc\start_2_26_2018
2 | 2018-02-26 |  | WCSS10R2S25 | S026 | 10.232.184.14 | PC | 578 | 82 | 650 iterations | New S10, new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S026\Powercyc\start_2_26_2018
3 | 2018-02-26 |  | WCSS10R2S27 | S011 | 10.232.184.86 | PC | 714 | 0 | 714 iterations | Old S10, old script | stormpeak_tester_powercycle_NoProg.ps1.rename (02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S011\Powercyc\start_02_26_2018
3 | 2018-02-26 |  | WCSS10R3S27 | S016 | 10.232.184.72 | Combo |  |  | Running (after 41 hrs, only executed 16 iterations) | DDR4 + Power cycle | dse_test (2/16/2018)
3 | 2018-02-26 |  | WCSS10R3S14 | S008 | 10.232.184.79 | Combo |  |  | Running (after 41 hrs, executed 642 iterations, expected 820 iterations) | DDR4 + Power cycle | dse_test (2/16/2018)
Swap FPGA from Bad to known good blade
2 | 2018-02-27 |  | WCSS10R2S35 | S014 | 10.232.184.25 | PC | 49 | 0 | Pass for 49 cycles, rerun for 720 hours | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S014\Powercyc\start_02_27_2018
2 | 2018-02-27 |  | WCSS10R2S33 | S023 | 10.232.184.11 | PC | 49 | 0 | Pass for 49 cycles, rerun for 720 hours | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S023\Powercyc\start_2_27_2018
2 | 2018-02-27 |  | WCSS10R2S31 | S022 | 10.232.184.23 | PC | 49 | 0 | Pass for 49 cycles | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S022\Powercyc\start_02_27_2018
2 | 2018-02-27 |  | WCSS10R2S29 | S033 | 10.232.184.13 | PC | 49 | 0 | Pass for 49 cycles, rerun for 720 hours | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S033\Powercyc\start_2_27_2018
Swap S10 FPGA from good to known bad blade
2 | 2018-02-27 |  | WCSS10R2S37 | S009 | 10.232.184.19 | PC | 0 | 39 | 39 fail | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S009\Powercycr\start_2_27_2018
2 | 2018-02-27 |  | WCSS10R2S14 | S029 | 10.232.184.15 | PC | 0 | 0 | 49 pass | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S029\Powercyc\start_02_27_2018
2 | 2018-02-27 |  | WCSS10R2S10 | S023 | 10.232.184.24 | PC | 0 | 1 | 1 iteration (!BAD Reg 69) | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S023\Powercyc\start_2_27_2018_2
2 | 2018-02-27 |  | WCSS10R2S08 | S025 | 10.232.184.20 | PC | 0 | 17 | !!BAD!! width and speed: Reg 69:, iteration: 39 | new script | stormpeak_tester_powercycle_NoProg.ps1.rename(02/20/2018) | System keeps shutting down, unable to get logfile.
3 | 2018-02-28 |  | WCSS10R3S08 | S005 | 10.232.184.82 | PC | 0 | 1 | Fail 10k iteration on 1st cycle | old script, FPGA can be seen in device manager when test run. | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S005\Powercyc\start_2_28_2018
3 | 2018-02-28 |  | WCSS10R3S10 | S006 | 10.232.184.81 | PC | 0 | 18 | Fail 10k iteration on 18 cycles | old script, FPGA can be seen in device manager when test run | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S006\Powercyc\start_2_28_2018
3 | 2018-02-28 |  | WCSS10R3S12 | S007 | 10.232.184.80 | PC | 0 | 0 | Fail 10k iteration = station shutdown | old script, FPGA can be seen in device manager when test run | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S007\Powercyc\start_2_28_2018
2 | 2018-02-28 |  | WCSS10R2S37 | S014 | 10.232.184.19 | PC | 0 | 1 | Fail 10k iteration on 1st cycle | old script, FPGA can be seen in device manager when test run | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S014\Powercyc\start_02_28_2018
2 | 2018-02-28 |  | WCSS10R2S31 | S022 | 10.232.184.23 | PC | 818 | 0 | Test stuck | old script, FPGA can be seen in device manager when test run | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S022\Powercyc\start_02_28_2018
2 | 2018-02-28 |  | WCSS10R2S29 | S033 | 10.232.184.13 | PC | 837 | 0 | Test stuck | old script, FPGA can be seen in device manager when test run | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.76\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S033\Powercyc\start_2_28_2018
2 | 2018-02-28 |  | WCSS10R2S14 | S023 | 10.232.184.15 | PC | 0 | 44 | Fail 10k iteration on 44 cycles. | old script, FPGA can be seen in device manager when test run | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018) | \\10.232.184.27\TestResultData\SysValTestData\StormPeak_S10\Test_Results\S023\Powercyc\start_02_28_2018
3 | 2018-02-26 |  | WCSS10R3S27 | S034 | 10.232.184.72 | Combo | 1391 | 0 | Pass 1391 iterations | DDR4 + Power cycle | dse_test (2/16/2018) | \\10.59.200.93\SysValTestData\StormPeak_S10\Test_Results\S034\Combo\start_03_01_2018
3 | 2018-02-26 |  | WCSS10R3S14 | S008 | 10.232.184.79 | Combo | 1920 | 0 | Pass 1920 iterations | DDR4 + Power cycle | dse_test (2/16/2018) | \\10.59.200.93\SysValTestData\StormPeak_S10\Test_Results\S008\Combo\start_03_01_2018
3 | 2018-02-26 |  | WCSS10R3S27 | S003 | 10.232.184.72 | Combo | running |  | Pass 1391 iterations | DDR4 + Power cycle | dse_test (2/16/2018)
3 | 2018-02-26 |  | WCSS10R3S14 | S023 | 10.232.184.79 | Combo | running |  | Pass 1920 iterations | DDR4 + Power cycle | dse_test (2/16/2018)
Power Cycle Tests:
[9 empty] | Total Power Cycle iteration | Good tests | indeterminate tests | No of PCI failures
[9 empty] | 78254 | 78167 | 87 | 84
Tests Failed
Tests Passed
DDR4 Tests:
[9 empty] | Total DDR4 tests | Good tests | indeterminate tests
[9 empty] | 38400 | 2 | 0
No failures observed in DDR4 tests
Combo Tests
[9 empty] | Total Combo tests | Good tests | indeterminate tests
[9 empty] | 658 | 0 | 0
Note: Still running

## Sheet1
Storm_Peak card # | IP | Power cycle test/DRAM test | PCI pass | PCI failures | Result | Observation | Image
S014 | 10.232.184.19 | PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S013 | 10.232.184.25 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S002 | 10.232.184.11 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S021 | 10.232.184.23 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S020 | 10.232.184.13 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S019 | 10.232.184.12 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S024 | 10.232.184.14 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S023 | 10.232.184.15 | PC | 34 | 2 | Fail 32 iteration !!BAD | Test stop at iteration 32 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S001 | 10.232.184.17 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S022 | 10.232.184.24 | PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S023 | 10.232.184.20 | PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S011 | 10.232.184.86 | Auto run PC |  |  | System rebooting |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S004 | 10.232.184.77 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S010 | 10.232.184.69 | DDR4 test | 0 | 0 | Pass 19200 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S012 | 10.232.184.74 | DDR4 test | 0 | 0 | Pass 19200 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S003 | 10.232.184.71 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S016 | 10.232.184.72 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S015 | 10.232.184.73 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S008 | 10.232.184.79 | PC | 2880 | 0 | Pass 2880 iterations |  | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S007 | 10.232.184.80 | Auto run PC | 0 | 0 | System rebooting | Its continously rebooting | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S006 | 10.232.184.81 | Auto run PC | 50 | 9 | Fail 22 iteration !!BAD | Test stop at iteration 22 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)
S005 | 10.232.184.82 | Auto run PC | 0 | 1 | Fail 1 iteration !!BAD | Test stop at iteration 1 due to PCIe link training or programming issue. Catapult FPGA device is not seen in Device Manager | stormpeak_tester_powercycle_NoProg.ps1.rename(02/16/2018)

## Sheet2
Tests Failed
Tests Passed
Power Cycle Tests:
| Total Power Cycle iteration | Good tests | indeterminate tests | No of PCI failures
| 78254 | 78167 | 87 | 84
DDR4 Tests:
| Total DDR4 tests | Good tests | indeterminate tests
| 38400 | 2 | 0
No failures observed in DDR4 tests
Combo Tests
| Total Combo tests | Good tests | indeterminate tests
| 658 | 0 | 0
Note: Still running

## Sheet3
Run # | Test detail | STP
1 | 2/16 PC Test
2 | 2/16 PC Test
3 | 2/16 PC Test
4